GEORGIA PACIFIC BUILDING PRODUCTS, LLC

SECTION 07 27 26 INTERGRATED GYPSUM SHEAHTING WATER-RESISTANT BARRIER AND AIR-BARRIER

SPECIFIER NOTE: This specification section is designed to provide guidance when specifying DensElement® Barrier System

DensElement® Barrier System: Is an integrated gypsum sheathing with AquaKOR™ technology that transforms the entire gypsum sheathing into a WRB-AB by integrating the fiberglass mat and gypsum core to form a monolithic, hydrophobic surface that blocks bulk water but allows vapor to pass-through.

BASIC USE: DensElement® Barrier System is used as the exterior wall sheathing, the water resistive barrier, and the air barrier as required by building code when the panel joints, fasteners, penetrations, openings and transitions are properly sealed by an approved fluid applied flashing per the manufacturer’s recommendations. The DensElement Barrier System can be used under a wide range of adhered, attached and rainscreen cladding systems. These include EIFS, cavity brick and claddings such as wood, vinyl, fiber cement, composite sidings and rainscreen claddings such as insulated metal panels.

SUMMERY OF BENEFITS:

The DensElement Barrier System eliminates the need for attached building wrap, fluid applied membranes or self-adhered membranes over the field of the sheathing that have typically served as the water resistive barrier and air barrier for building code compliance. The DensElement Barrier System Sheathing is attached directly to wood or steel framing with recommended fasteners. DensElement® Barrier System creates a high-performing robust barrier that helps keep bulk water out, but remains permeable, which allows water vapor to escape and promote drying.  The DensElement® Barrier System helps prevent air infiltration for a more energy efficient structure. The DensElement® Barrier may be fully exposed to UV and normal weather conditions for up to 12 months after installation.

FOR TECHNICAL OR SALES SUPPORT CONTACT:

Georgia-Pacific Building Products, LLC
133 Peachtree Street, NE
9th floor
Atlanta, GA 30303
1-800-225-6119

www.buildgp.com

SALES INFORMATION AND ORDER PLACEMENT

U.S.A. Pacific Southwest: 1-800-824-7503

Midwest: 1-800-876-4746

Central: 1-800-231-6060 x 7709

North: 1-800-947-4497

Pacific Northwest: 1-800-444-0092

South: 1-800-327-2344

CANADA Canada Toll Free: 1-800-387-6823

TECHNICAL HOTLINE

U.S.A. and Canada: 1-800-225-6119

techservices@gapac.com

SECTION 07 2500

INTERGRATED GYPSUM SHEATHING WATER-RESISTANT BARRIER AND AIR-BARRIER

PART 1 GENERAL

- SECTION INCLUDES

  - Work of this section includes coated fiberglass-mat gypsum sheathing board system with integral Water-Resistant Barrier (WRB) and air barrier (AB) features, and all components and accessory materials required for covering sheathing joints, fasteners, penetrations, rough openings, and material transitions, for use under exterior wall claddings.

  - Fluid-applied. Self-adhered, vapor-permeable, membrane air barrier

Specifier: The DensElement® Barrier System specified herein replaces all exterior wall sheathing, plastic sheet air barriers, self-adhering air barriers and fluid-applied air barriers. Therefore, delete all other air barriers / weather resistant barrier products from the specifications, and delete exterior wall sheathing from Division 6. If including this optional RELATED SECTIONS, please only include the sections included in the project manual.

- RELATED SECTIONS

  - Division 01 Section "Sustainable Design Requirements" for additional requirements, including [LEED] documentation requirements.

  - [Section 014000 Quality Requirements;] [Section 014529 Testing Laboratory Services;] [Section 014533 Code-Required Special Inspections and Procedures;] coordination with owners’ independent testing and inspection agency

  - Section 014339 Mock-Ups; exterior wall mock-ups

  - Section 015000 Temporary Facilities and Controls; Work Schedule requirements to prevent weather or sunlight exposure beyond the manufacturer limits; project requirements to protect installed material prior to and during the enclosure work is completed.

  - Section 061600 Sheathing for air barrier substrates and joint treatment

  - Section 075000 Roofing Membrane; roof assembly and air barriers interface coordination and sequencing

  - Section 079200 Joint Sealants; sealant materials and installation techniques

  - Section 092900 Gypsum Board

  - Exterior wall claddings

- DEFINITIONS

  - Air Barrier (AB): Airtight barrier made of material that is relatively air impermeable but moisture vapor permeable, with sealed joints and penetrations, and with terminations sealed to adjacent surfaces.

  - Water-Resistant Barrier (WRB): Water-shedding barrier made of material that is moisture-resistant, installed to shed water, with sealed joints and penetrations, and with terminations sealed to adjacent surfaces.

  - Rough Openings: Openings in the wall to accommodate windows and doors.

  - Material Transitions: Areas where the WRB / AB coated fiberglass-mat gypsum sheathing connects to beams, columns, slabs, parapets, foundation walls, roofing systems, and at the interface of dissimilar materials.

- REFERENCE STANDARDS

  - AAMA- American Architectural Manufactures Association https://fgiaonline.org/

    - AAMA 711 Voluntary Specification for Self-Adhering Flashing Products Used for the Installation of Exterior Wall Fenestration Products.

    - AAMA 714 Voluntary Specification for Liquid Applied Flashing Used to Create a Water Resistive Seal Around Exterior Wall Openings in Buildings

  - ASTM- - American Society for testing and Material Standards www.astm.org

              - ASTM C473 Standard Test Method for Physical Testing of Gypsum Panel Products.

              - ASTM C1177 Standard Specification for Glass Mat Gypsum Substrate for Use as Sheathing.

              - ASTM C1280 Standard Specification for Application of Gypsum Sheathing.

              - ASTM D3273 Standard Test Method for Resistance to Growth of Mold on the Surface of Interior Coatings in an Environmental Chamber.

              - ASTM D412 Standard Test Methods for Vulcanized Rubber and Thermoplastic Elastomers—Tension

              - ASTM E72 Standard Test Methods of Conducting Strength Tests of Panels for Building Construction.

              - ASTM E96 Standard Test Methods for Water Vapor Transmission of Materials.

              - ASTM E119 Standard Test Method for Fire Tests of Building Construction and Materials.

              - ASTM E136 Standard Test Method for Behavior of Materials in a Vertical Tube Furnace at 750 C.

              - ASTM E84 Standard Test Method for Surface Burning Characteristics of Building Materials.

              - ASTM E2178 Standard Test Method for Air Permeance of Building Materials.

              - ASTM E2357 Standard Test Method for Determining Air Leakage of Air Barrier Assemblies.

  - Building Codes and Standards

        - 2015 ICC-ES AC 212 CIC ES Water-resistive Coatings Used as Water-resistive Barriers over Exterior Sheathing

        - 2021, 2018, 2015, and 2009 IBC                International Building Code

        - 2021, 2018, 2015, 2012, and 2009 IRC      International Residential Code

        - 2021, 2018, 2015, and 2009 IECC             International Energy Conservation Code

        - US Environmental Protection Agency's AIM VOC regulations

D. Gypsum Association

- GA-253 Application of Gypsum Sheathing

E. National Fire Protection Association

- NFPA 285 Standard Fire Test Method for Evaluating of Fire Propagation Characteristics of Exterior Wall Assemblies Containing Combustible Components

- SUBMITTALS

  - Submittals: Submit in accordance with Division 1 requirements.

  - Product Data and Installation Instructions: Submit manufacturer’s product data including sheathing and accessory material types, composition, descriptions and properties, installation instructions and substrate preparation recommendations.

  - Shop Drawings: Submit shop drawings indicating locations and extent of WRB / AB system, including details of typical conditions, special joint conditions, intersections with other building envelope systems and materials; counter flashings and details showing bridging of envelope at substrate changes, details of sealing penetrations, and detailed flashing around windows and doors

  - Test Reports: Submit test reports indicating compliance with specified performance characteristics and requirements

  - Sample warranty: Submit a sample warranty identifying the terms and conditions of the warranty as herein specified.

  - Evaluation reports: Accredited laboratory testing for materials

- WARRANTY

  - Provide manufacturer’s standard warranty against in-place exposure damage (delamination, deterioration) for 12 (twelve) months of exposure to normal weather conditions beginning with the date of installation of the product.

  - Provide manufacturer's standard warranty for sheathing to be free of manufacturing defects that make it unsuitable for its intended use. Warranty period shall be Ten (10) years from the date of purchase of the product.

  - Provide manufacturer’s standard warranty for use as a drainage plane when the cladding systems are properly designed and installed, with a warranty period of 10 years from the date of purchase of the product or, when used as a substrate in architecturally specified drainage EIFS, 12 years from the date of purchase of the product..

- QUALITY ASSURANCE- PRECONSTRUCTION CONFRENCE

- Conduct preconstruction conference onsite at project

- Review air barrier products and installation requirements

- Mock-up construction and expectations

- Testing and inspection requirements

- Sequencing and coordination of air barrier work with other materials and sections

Compatibility of materials that will interface with the primary fluid-applied membrane material and accessories

- QUALITY ASSURANCE- Material

- Air-Barrier Assembly Air Leakage: Maximum 0.04 cfm/sq. ft. of surface area at 1.57 lbf/sq. ft. (0.2 L/s x sq. m of surface area at 75 Pa), when tested according to ASTM E 2357.

- QUALITY ASSURANCE- MOCK UP

  - Install WRB / AB sheathing with sealed joints and penetrations in mock-up as specified in [Section 014339 Mock-Ups.] [Section ___________________].

- QUALITY ASSURANCE – REGULATORY COMPLIANCE

  - Comply with US Environmental Protection Agency's AIM VOC regulations

  - Comply with 2015 ICC-ES AC 212 CIC ES Water-resistive Coatings Used as Water-resistive Barriers over Exterior Sheathing

  - Comply with 2018 and 2021 IRC requirements for continuous air barrier

  - Comply with 2018 and 2021 air barrier requirements of the IBC and IECC

- DELIVERY, STORAGE, AND HANDLING

  - Deliver and accept materials to the Project site in original packaging with seals unbroken and label with Manufacturer’s name.

  - Store INTERGRATED GYPSUM SHEATHING WATER-RESISTANT BARRIER AND AIR-BARRIER under cover and keep dry and protected against weather, condensation, direct sunlight, construction traffic, and other potential causes of damage. Stack sheathing flat and supported on risers on a flat platform to prevent sagging.

  - Store fluid-applied and self-adhere material at temperatures of 40 degrees F or above.

  - Protect materials from damage, excessive temperatures, and construction traffic.

  - Handle materials in accordance with the manufacturer’s recommendation.

D.

- FIELD CONDITIONS

  - Application standards where applicable are in accordance with Gypsum Association Publication GA-253 for gypsum sheathing and ASTM C1280.

  - Do not install sheathing that is moisture damaged. Indications that panels are moisture damaged include, but not limited to, discoloration, sagging, or irregular shape.

  - Allow installed sheathing to be dry to the touch before sealing joints, penetrations, rough openings, and material transitions.

  - Do not attempt to seal joints, corners, penetrations, rough openings, and material transitions when installed sheathing surface is frozen or has frost on the surface.

  - Do not apply sealing materials to sheathing when air or surface temperature is below 25F for fluid applied materials.

  - Sequencing.  Do not install air barrier material before the roof assembly has been sufficiently installed to prevent a buildup of water in the interior of the building. Schedule other work requiring interface with the air barrier to ensure proper sequencing.

  - Compatibility.  Do not allow air barrier materials to come in contact with chemically incompatible materials.

  - Ultra-violet exposure.  Do not expose air barrier materials to sunlight longer than as recommended by the material manufacturer.

PART 2 PRODUCTS

- MANUFACTURERS

  - Basis-of-Designs: Provide Fiberglass-Mat Faced Gypsum Sheathing with Integrated Water-Resistive Barrier-Air Barrier (WRB-AB) - Georgia-Pacific Building Products LLC 1-800-225-6119; email: techservices@gapac.com" www.buildgp.com or comparable products approved by the Architect in agreement with Division 1 General Requirements.

  - Source Limitations: Obtain the primary air-barrier materials from a single source manufacturer.

2.2 	Products

A.	Fiberglass-Mat Faced Gypsum Sheathing with Integrated Water-Resistive Barrier Air Barrier (WRB-AB) : ASTM C1177/C1177M, Type X, fiberglass mat gypsum sheathing with integral water-resistant barrier and air barrier complying with ASTM E2178 and ICC-ES AC 212.

- DensElement Barrier System - Consisting of DensElement Sheathing which is a 5/8-inch-thick Fiberglass-Mat faced gypsum sheathing with Integrated Water-Resistive Barrier Air Barrier (WRB-AB), components, and accessories to maintain a Vapor-Permeable continuous Water-Restive Barrier and Air Barrier (WRB-AB) System.

- Air Barrier Accessory Materials

- Fluid applied flashing for seams, joints, inside and outside corners, material transitions, board to board seams, wall to slab, and penetrations

- DensDefy™ Liquid Flashing - a waterproofing and detailing compound made with STP Technology

- Self-Adhering transition membrane for flashing of rough openings, material transitions, and wall to slab

- DensDefy™ Transition Membrane - a waterproofing and detailing compound made with STP Technology

- Fluid-Applied Water-Resistive Barrier and Air Barrier Membrane for treatment of sheathing, CMU, and Concrete surfaces.

DensDefy™ Liquid Barrier - single component Silyl-Terminated Polymer (STP) air and water-resistive barrier applied by roller or with spray equipment applied at a minimum of 14 wet mils

2.3	PERFORMANCE

A.   Fiberglass-Mat faced gypsum sheathing with Integrated Water-Resistive Barrier Air Barrier (WRB-AB)

- Size 48 by 96 (should we add other sizes) inches (1219 by 2438 mm) for vertical and horizontal installation.

- Edges: Square

- Air Permeance: Maximum 0.004 cfm/sq. ft. (0.2 L/s x sq. m) pressure difference when tested in accordance with ASTM E2178.

- Vapor Permeance: Minimum [25 perms (1436 ng/Pa x s x sq. m)] [30 perms (1724 ng/Pa x s x sq. m)] when tested in accordance with ASTM E96/E96M, Water Method, Procedure B.

  - Substrate requirements:

    - Sheathing panels should be trimmed to obtain neat fitting joints.

    - Gaps that are more than 1/4” and less than 1” shall be filled with a backer rod to support the fluid applied flashing at the transition joint.

    - For gaps larger than 1" use transition membrane flashing as approved by Georgia-Pacific Gypsum LLC.

  - Fluid applied flashing for panel joints, inside and outside corners, and penetrations

    - Description: STP-based fluid applied flashing.

    - Properties:

      - Acceptable substrate: Georgia-Pacific Gypsum LLC DensElement Sheathing.

      - Adhesion to fiberglass mat faced sheathing: No delamination from face of sheathing.

      - Applied wet film thickness: 16 mils.

      - Air permeance: meets 0.004 cubic feet per minute per square foot (0.02L/s/sq m), maximum, when tested in accordance with ASTM E2178.

      - Water vapor permeance: >10 perms (287 ng/(Pa s sq m)), minimum, when tested in accordance with ASTM E96/E96M.

      - Ultraviolet and weathering resistance: Approved for 12 months weather exposure.

      - Comply with applicable requirements of AAMA 714

    - Primer:  Provide primer in accordance with air barrier manufacturer's written instructions for exposed gypsum core edges.

  - Fluid applied flashing for sealing fasteners:

    - Description:  STP-based fluid applied flashing.

    - Properties:

      - Acceptable substrate: Georgia-Pacific Gypsum LLC DensElement Sheathing.

      - Adhesion to fiberglass mat faced sheathing: No delamination from face of sheathing.

      - Applied wet film thickness: 16 mils.

      - Air permeance: meets 0.004 cubic feet per minute per square foot (0.02 L/s/sq m), maximum, when tested in accordance with ASTM E2178.

      - Water vapor permeance: >10 perms (287 ng/(Pa s sq m)), minimum, when tested in accordance with ASTM E96/E96M.

      - Ultraviolet and weathering resistance: Approved for 12 months weather exposure.

      - Comply with applicable requirements of AAMA 714.

  - Fluid applied flashing for sealing rough openings

    - Fluid applied flashing: STP-based fluid applied flashing.

    - Primer: Liquid primer in accordance with air barrier manufacturer's written instructions for exposed gypsum core edges. Apply primer to raw gypsum board edges by brushing on a thin, uniform coat.

    - Properties:

      - Acceptable substrate: Georgia-Pacific Gypsum LLC DensElement Sheathing.

      - Flashing adhesion to fiberglass mat faced sheathing: No delamination from face of sheathing.

      - Applied wet film thickness: 16 mils.

      - Flashing air permeance: meets 0.004 cubic feet per minute per square foot (0.02 L/s/sq m), maximum, when tested in accordance with ASTM E2178.

      - Flashing water vapor permeance: >10 perms (287 ng/(Pa s sq m)), minimum, when tested in accordance with ASTM E96/E96M.

      - Ultraviolet and weathering resistance: Approved for 12 months weather exposure.

      - Flashing comply with applicable requirements of AAMA 714.

  - Material transitions using fluid applied flashing:

    - Refer to substrate requirements for treatment of gaps as specified herein. Gaps that are more than 1/4” and less than 1” shall be filled with a backer rod to support the fluid applied flashing at the transition joint.  For gaps larger than 1" use transition membrane flashing as approved by Georgia-Pacific Gypsum LLC

    - Fluid applied flashing for material transitions:

    - Properties:

      - Acceptable substrate: Georgia-Pacific Gypsum LLC DensElement Sheathing.

      - Adhesion to fiberglass mat faced sheathing: No delamination from face of sheathing.

      - Applied wet film thickness: 16 mils

      - Air permeance: 0.004 cubic feet per minute per square foot (0.02L/s/sq m), maximum, when tested in accordance with ASTM E2178

      - Water vapor permeance: >10 perms (287 ng/(Pa s sq m)), minimum, when tested in accordance with ASTM E96/E96M

      - Ultraviolet and weathering resistance: Approved for 12 months weather exposure

      - Comply with applicable requirements of AAMA 714

PART 3 EXECUTION

- PREPARATION

  - Remove projections, protruding fasteners, loose or damaged sheathing material at edges of panel that might interfere with proper installation to seal joints, corners, fasteners, penetrations, openings, or material transitions.

  - Wipe down the sheathing surface to receive sealing materials with a clean cloth.

  - Ensure field conditions are met as outlined in Part 1 – General Requirements.

- INSTALLATION OF WEATHER-RESISTANT BARRIER (WRB) AND AIR BARRIER (AB) SHEATHING

  - WRB / AB Coated fiberglass mat sheathing:

    - Install and fasten DensElement Sheathing according to manufacturer’s detailed installation instructions

    - Fastener and penetration treatment:  Treat all sheathing fasteners with specified fluid applied flashing used for sealing joints.

- FLUID APPLIED FLASHING FOR SEALING SHEATHING JOINTS, INSIDE AND OUTSIDE CORNERS, FASTENERS, ROUGH OPENINGS, AND MATERIAL TRANSITIONS

  - Sealing DensElement Sheathing Joints using specified Fluid Applied Flashing

    - Apply fluid applied flashing over the joint in a zigzag or ribbon pattern. Cover a minimum of 1” on both sides of the joint.

    - With a straight edge tool, spread evenly over the sheathing joint.

    - Apply at a rate to achieve a minimum wet mil thickness of 16 mils over the entire joint area.

  - Sealing DensElement Sheathing Vertical Corners using specified Fluid Applied Flashing

    - Apply fluid applied flashing over the inside and/or outside corner in a zigzag or ribbon pattern. Cover a minimum of 2” on both sides of the corner.

    - With a straight edge tool, spread evenly over the sheathing corner.

    - Apply at a rate to achieve a minimum wet mil thickness of 16 mils over the corner area.

  - Sealing DensElement Sheathing Fasteners using specified Fluid Applied Flashing: Apply the fluid applied flashing material to fasteners and wipe down with a straight edge tool; provide a minimum 16 mil thick coating over the fastener.

  - Sealing DensElement Sheathing Rough Openings using specified Fluid Applied Flashing

    - Apply a bead of DensDefy™ Liquid Flashing into all inside corners of the opening.

    - Apply DensDefy™ Liquid Flashing in the opening sill, jamb and header in a zig-zag or ribbon pattern.

    - Apply DensDefy™ Liquid Flashing over the DensElement Sheathing adjacent to the opening sill, jamb and header in a zig-zag or ribbon pattern.

    - Use a straight edge tool to spread the DensDefy™ Liquid Flashing to a pinhole void free application achieving a minimum 16 wet mils

    - Spread the DensDefy™ Liquid Flashing a minimum of 2” into the rough opening and a minimum 1” past the interior air seal of the window unit. Refer to the project details and specifications to determine window placement and minimum requirement for rough opening treatment.

    - Ensure a minimum 2” of DensDefy™ Liquid Flashing is applied onto the sheathing surface adjacent to the opening.

  - Sealing DensElement sheathing material transitions using specified Fluid Applied Flashing

    - Sheathing joint and transition gaps to receive fluid-applied flashing shall be less than 1/4" (6.4 mm).

    - For gaps larger than 1/4" use shall be sealed with fluid-applied flashing as approved by Georgia-Pacific Gypsum, LLC

    - Gaps that are more than 1/4” and less than 1” shall be filled with a backer rod to support the fluid applied flashing at the transition joint.

    - If necessary, prime the adjacent material with primer per the material manufacturer’s recommendations.

    - Apply fluid applied flashing over the sheathing and adjacent material in a zigzag or ribbon pattern. Ensure the flashing is a minimum of 2” on each substrate material surface.

    - With a straight edge tool, spread fluid applied flashing over material transition joint.

    - Apply at a rate to achieve a minimum wet mil thickness of 16 mils.

- SEALING EXTERIOR WALL PENETRATIONS

  - Exterior wall penetration shall be sealed to prevent air and water infiltration. Penetrations may be sealed with fluid applied flashing.

  - For round or square pipe/duct penetrations use specified fluid applied flashing, refer to DensElement Barrier System Technical Guide for instructions for proper sealing.

- FIELD QUALITY CONTROL

  - Do not cover installed WRB / AB assembly until required inspections have been completed and installation has been accepted.

  - Where applicable, allow for owner’s inspection and air barrier testing and reporting.

- PROTECTION

  - Protect WRB / AB assembly from damage during installation and during the construction period.

END OF SECTION